## Slide 1: Datacenter Energy Efficiency Benchmarks and Standards
David Reiner
ISO/IEC SC39 Chair - Sustainability, IT and data centres
SPEC President
Chair of The Green Grid
AMD Datacenter Standards & Emerging Technologies Architect
April 2023

## Slide 2: ISO/IEC and SPEC Datacenter Efficiency Benchmarks & Standards
SPECpower_ssj 2008
  Marketing benchmark for standard servers
  Introduced testing at “load levels”
SPEC SERT v2
    Corresponding ISO/IEC 21836:2020 and EN 303 470 standard
Image copyright SPEC® 2017. Used with permission.
SPEC SERT
  Test method for EU Lot 9, China CNIS, Japan Top Runner and US Energy Star regulations/programs
SNIA Emerald
  Utilized SPEC Storage workload
  Corresponding ISO/IEC 24091:2019 standard
SPEC CPU 2017 Energy
  CPU, memory and compiler focused

## Slide 3: Future Needs
Standardized Efficiency Benchmarks
  Server types
    HPC servers
    GPU enabled servers
    Storage heavy servers
  Emerging workloads
    Blockchain, machine learning, cloud native
  Server components
    Networking, DPUs, accelerators
  Datacenter hardware
    Network equipment

## Slide 4: Future Needs
Standards & KPIs
  Datacenter level KPIs
    IT equipment KPIs to build upon PUE
    Development efforts within The Green Grid (TGG) and European Datacenter Association (EUDCA)
  Benchmark Related Standards
    Coordinate new/updated standards with benchmark releases to ease timely adoption